Consultation Process / Planning a PV System

# Analysis of the initial situation

Single-family house, multi-family building, commercial property? (how many tenants or meters)

Consumption (kWh)

Load profile (number of people, children, home office, special consumers)

Heat pump, air-conditioning system existing / planned (kWh)

Wallbox(es) (annual mileage) existing / planned

Other potential for controllable consumers (pool, aquarium, ventilation system, etc.)

Condition of the electrical system (meter cabinet, service connection box, grounding) - expensive if it has to be renewed

# Potential analysis

Available roof areas (photos, Google Solar API)

Area, orientation, shading

3D model of the house with shading frequency

Load-bearing capacity

Space for installing inverter and battery storage

Advice on suitable locations

# Customer requirements / preferences

Ascetics (full-black modules, roof-integrated)

Backup power required (options, requirements, costs)

# Design

Selection of number of modules

Budget

"Magic" regulatory thresholds: 7 kWp, 25 kWp, 30 kWp, 100 kWp

Economic viability (self-consumption, feed-in tariff) vs. installation effort and yield per area

Possible use of optimizers (for roofs shading)

Mounting system

Roof covering

Dimensions (depending on roof type)

Selection of battery storage

Budget

Capacity based on expected grid feed-in / self-consumption

Backup power

Selection of inverter

Power rating, number of MPPTs, voltages and currents suitable for the module arrays

Backup power

Smart metering system (iMSys)

Information on when it will be introduced and whether it is needed

Energy meter vs. smart metering system (iMSys)

Let the customer ask questions

Controllability of the PV system under Section 9 EEG

Obligation (7/25 kWp)

Implementation via ripple-control receiver (FRE) / control box

Meaning for the specific system

Feed-in tariff / direct marketing

Controllable consumption devices under Section 14a EnWG

Modules 1, 2, 3

What does curtailment mean?

Implementation via EMS vs. relay interface

# Financing

Advice regarding loans